## Cover
Sheikh Najjar Solar PV Project: Financial Model
Fictional sponsor: Halab Solar Development Company (SPV). Prepared by Yamen Agha as a portfolio feasibility study.
All figures in nominal US dollars unless stated. Annual model, operating years 1-25 after construction (year 0).
Sheet guide
Inputs Every assumption with unit, basis (Sourced / Derived / Assumption) and source ID (see Sources sheet).
Capex Capital cost build-up and funding plan (debt sizing, fees, interest during construction).
CashFlow 25-year operating, tax, debt and cash-flow waterfall. All cells are live formulas.
Returns NPV, IRR (project and equity), payback, LCOE, DSCR and LLCR.
Market Grid tariff and diesel cost comparators; blended cost by hours of grid supply.
Analysis Scenario, tornado and Monte Carlo results exported from the Python scripts (static values).
Checks Integrity checks and reconciliation of this workbook against the Python reference model.
Sources Dated source list.
Colour code: blue text on cream fill = input; black text = formula. Change inputs only on the Inputs sheet.
Scenario levers on Inputs: yield_mult, capex_mult, opex_mult and bess_on (0 = PV only, 1 = PV + BESS).

## Inputs
Name | Value | Unit | Basis | Source | Note
lat | 36.27 | deg N | Assumption | S33 | Indicative site inside/adjacent to Sheikh Najjar Industrial City; existing PV plant reported at 36.2701N, 37.2569E
lon | 37.3 | deg E | Assumption | S33 | Indicative coordinates used for all resource queries
pvgis_yield | 1654.53 | kWh/kWp/yr | Sourced | S01 | PVGIS 5.3, SARAH3 2005-2023, fixed 31 deg optimal tilt, 14% system loss
pvgis_sd_y | 41 | kWh/kWp/yr | Sourced | S01 | Year-to-year standard deviation reported by PVGIS
gsa_pvout | 1761.3 | kWh/kWp/yr | Sourced | S04 | Global Solar Atlas PVOUT (Solargis model), cross-check only
model_uncert | 0.05 | fraction (1 sigma) | Assumption |  | Resource and modelling uncertainty used for P90 and Monte Carlo
mwp | 60 | MWp DC | Assumption |  | About a third of base-case estimated daytime zone demand (range 21-54%) so output is fully absorbed
mwac | 50 | MWac | Assumption |  | DC/AC ratio 1.20
availability | 0.985 | fraction | Assumption |  | Plant and offtaker-network availability; below the 99%+ typical in stable markets
deg_y1 | 0.01 | fraction | Sourced | S09 | Jinko Tiger Neo warranty: max 1.0% in year 1
deg_annual | 0.004 | fraction/yr | Sourced | S09 | Jinko Tiger Neo warranty: 0.4%/yr years 2-30
land_ha_per_mwp | 1.3 | ha/MWp | Assumption | S32 | Existing Sheikh Najjar plant: 33 MW on 35 ha (1.06 ha/MW); 1.3 used for wider row spacing
c_modules | 0.114 | USD/Wp | Sourced | S05 | InfoLink 30 Sep 2026: TOPCon module average, non-China markets, before tax
c_logistics | 0.012 | USD/Wp | Assumption |  | Sea freight, insurance, Latakia port handling and inland haulage to Aleppo (about 10% of FOB)
c_inverters | 0.03 | USD/Wp | Assumption | S08 | PowerChina 2024 bids averaged 0.013 USD/W in China; export, delivery and spares margin applied
c_structure | 0.065 | USD/Wp | Assumption |  | Fixed-tilt galvanised steel mounting incl. piling
c_elec_bos | 0.055 | USD/Wp | Assumption |  | DC/AC cabling, combiner boxes, earthing, MV collection
c_substation_lump | 4000000 | USD | Assumption | S37 | Step-up substation and connection into the zone 20 kV network; zone already has 60 MW and 30 MW substations added in 2023
c_civil | 0.035 | USD/Wp | Assumption |  | Site preparation, roads, drainage, fencing
c_install | 0.04 | USD/Wp | Assumption |  | Mechanical and electrical installation labour
c_security_scada | 0.012 | USD/Wp | Assumption |  | CCTV, intrusion detection, SCADA, weather station
epc_margin | 0.08 | fraction of hard cost | Assumption |  | EPC overhead and margin
c_dev_lump | 1200000 | USD | Assumption |  | Feasibility, ESIA, legal, PPA negotiation, permits
owners_pct | 0.015 | fraction of EPC | Assumption |  | Owner's engineer and construction all-risk insurance
contingency | 0.1 | fraction of EPC | Assumption |  | Elevated for country risk and logistics
om_per_kwp | 9 | USD/kWp/yr | Assumption | S10 | O&M contract incl. cleaning; NREL ATB 2024 benchmark is 22 USD/kWac/yr all-in fixed O&M
insurance_pct | 0.006 | fraction of capex/yr | Assumption |  | Property and business interruption insurance
pri_pct_debt | 0.008 | fraction of initial debt/yr | Assumption |  | Political risk insurance premium on senior debt
security_fix | 250000 | USD/yr | Assumption |  | Guarding and patrols
land_lease_per_ha | 600 | USD/ha/yr | Assumption |  | Lease of industrial-city land
admin_fix | 300000 | USD/yr | Assumption |  | SPV management, audit, billing, metering
wheeling | 0.005 | USD/kWh | Assumption | S18 | Network use/metering charge for delivery over the zone distribution network
opex_esc | 0.025 | fraction/yr | Assumption |  | Opex escalation in USD
inverter_repl_yr | 13 | operating year | Assumption |  | Inverter replacement
inverter_repl_cost | 0.025 | USD/Wp | Assumption | S08 | Replacement cost in nominal USD
ppa_day | 0.1 | USD/kWh | Assumption | S11 | USD-indexed PPA invoiced in SYP at the CBS official rate; 28% below the 17 SYP/kWh industrial grid tariff
ppa_esc | 0.01 | fraction/yr | Assumption |  | Annual PPA indexation
collection | 0.97 | fraction | Assumption |  | Share of invoices collected (bad debt 3%)
fx_haircut | 0.03 | fraction | Assumption | S15 | Expected loss converting SYP receipts to USD; official-parallel gap was 12.8% on 13 Oct 2026
receivable_days | 60 | days | Assumption |  | Debtor days for working capital
ppa_term | 25 | years | Assumption |  | Matches modelled life
grid_ind_syp | 17 | new SYP/kWh | Sourced | S11 | Decision 687: 1,700 old SYP/kWh for rationing-exempt industrial users; 100:1 redenomination
grid_heavy_syp | 18 | new SYP/kWh | Sourced | S11 | Smelting/rolling and high-consumption users: 1,800 old SYP/kWh
fx_official | 122.5 | new SYP/USD | Sourced | S15 | CBS official selling rate, 13 Oct 2026
fx_parallel | 140.5 | new SYP/USD | Sourced | S15 | Parallel market close, 13 Oct 2026
diesel_ind_syp | 150 | new SYP/L | Sourced | S13 | Second-grade diesel for productive sectors, announced 17 Sep 2026
diesel_std_syp | 175 | new SYP/L | Sourced | S12 | Standard diesel from 13 Sep 2026
genset_sfc | 0.28 | L/kWh | Assumption | S30 | Part-load factory gensets; MTU 20V4000 datasheet 202 g/kWh at full load (about 0.24 L/kWh)
genset_nonfuel | 0.03 | USD/kWh | Assumption |  | Genset maintenance, lubricants and capital recovery
dfi_ef_diesel | 2.697 | kg CO2/L | Derived | S31 | EPA 2025: 10.21 kg CO2/gal / 3.785 L/gal
fit_154_pv | 0.04 | USD/kWh | Sourced | S20 | Decision 154 (3 Jul 2025) feed-in tariff, standalone solar 2-10 MW
fit_154_bess | 0.06 | USD/kWh | Sourced | S20 | Decision 154 feed-in tariff, solar with 4-hour storage
cit | 0.1 | fraction | Sourced | S26 | Draft unified income tax law: 10% for priority sectors (enactment not confirmed; treated as assumption-sensitive)
tax_relief | 0.75 | fraction | Sourced | S25 | Investment Law 18/2021 as amended by Decree 114/2025: up to 75% income-tax reduction for 10 years
tax_relief_years | 10 | years | Sourced | S25
dep_years | 20 | years | Assumption |  | Straight-line tax and book depreciation
gearing | 0.6 | fraction of funding | Assumption |  | Senior debt share; DFI-style lenders in frontier markets
ust7 | 0.0511 | fraction | Sourced | S28 | 7-year US Treasury par yield, 13 Oct 2026
ust10 | 0.0521 | fraction | Sourced | S28 | 10-year US Treasury par yield, 13 Oct 2026
sofr | 0.0387 | fraction | Sourced | S29 | SOFR, 9 Oct 2026 (reference only)
debt_margin | 0.045 | fraction | Assumption |  | Credit margin over the 7-year Treasury for a DFI-led loan with political risk cover
tenor | 12 | years after COD | Assumption |  | Annuity repayment
upfront_fee | 0.02 | fraction of debt | Assumption |  | Arrangement and commitment fees
idc_factor | 0.5 | years | Assumption |  | Average debt outstanding during a 12-month construction period
beta | 0.85 |  | Assumption |  | Levered equity beta for a contracted solar SPV
mature_erp | 0.0423 | fraction | Sourced | S27 | Damodaran mature-market ERP, Jan 2026
crp_syria | 0.1554 | fraction | Sourced | S27 | Damodaran Syria country risk premium (NR), Jan 2026
dscr_lockup | 1.15 | x | Assumption |  | Distribution lock-up covenant
dscr_target_min | 1.3 | x | Assumption |  | Minimum DSCR lenders would typically require for a merchant-exposed frontier project
bess_mw | 20 | MW | Assumption |  | Option: 4-hour battery charged from PV
bess_mwh | 80 | MWh | Assumption
bess_capex_kwh | 165 | USD/kWh | Assumption | S07 | BNEF 2025 global turnkey 117 USD/kWh; Ember all-in 125 USD/kWh ex China/US; +40 for Syria logistics and risk
bess_rte | 0.87 | fraction | Assumption | S07 | AC round-trip efficiency, LFP
bess_fade | 0.02 | fraction/yr | Assumption |  | Usable capacity fade
bess_om_pct | 0.015 | fraction of BESS capex/yr | Assumption
bess_aug_yr | 12 | operating year | Assumption |  | Augmentation to restore capacity
bess_aug_cost | 2000000 | USD | Assumption |  | Nominal augmentation cost
ppa_evening | 0.16 | USD/kWh | Assumption |  | Evening (18:00-22:00) firm tariff; still well below diesel cost
life | 25 | years | Assumption |  | Operating life modelled; zero net terminal value (scrap offsets decommissioning)
cod_year | 2028 | calendar year | Assumption |  | COD September 2028 after financial close September 2027
mc_runs | 10000 | runs | Assumption |  | Monte Carlo iterations, seed 42
clip_loss | 0.00031938 | fraction | Derived | S02 | Inverter clipping loss from PVGIS hourly 2019-2023 at DC/AC 1.2 (scripts/resource_and_dispatch.py)
bess_charge_yr1 | 30476.1247 | MWh/yr | Derived | S02 | Annual PV energy routed to the battery in the hourly dispatch simulation
bess_dis_ratio | 0.87 | ratio | Derived | S02 | Energy discharged / energy charged in the dispatch simulation
yield_mult | 1 | x | Assumption |  | Scenario lever: energy yield multiplier
capex_mult | 1 | x | Assumption |  | Scenario lever: capex multiplier
opex_mult | 1 | x | Assumption |  | Scenario lever: opex multiplier
bess_on | 0 | 0/1 | Assumption |  | Scenario lever: include the BESS option

## Capex
Item | USD | USD/Wp | Formula basis
PV modules (TOPCon, bifacial) | 6840000 | 0.114 | module price x Wp
Freight, insurance, port and inland logistics | 720000 | 0.012
Inverters | 1800000 | 0.03
Mounting structures | 3900000 | 0.065
Electrical balance of system | 3300000 | 0.055
Substation and interconnection | 4000000 | 0.066667 | lump sum
Civil works and fencing | 2100000 | 0.035
Installation labour | 2400000 | 0.04
Security systems and SCADA | 720000 | 0.012
Hard cost subtotal | 25780000 | 0.42967
EPC overhead and margin | 2062400 | 0.034373
EPC price | 27842400 | 0.46404
Development and permitting | 1200000 | 0.02
Owner's engineer and construction insurance | 417636 | 0.0069606
Contingency | 2784240 | 0.046404
Capex multiplier (scenario lever) | 1
PV capex | 32244276 | 0.5374
BESS capex (option) | 0 | 0
Total capex (C) | 32244276 | 0.5374
Funding plan
Cost of debt (7-yr UST + margin) | 9.61%
Senior debt (D) | 20170111.242
Upfront fees | 403402.2248
Interest during construction | 969173.8452
Total funding requirement (F) | 33616852.07
Equity (F - D) | 13446740.828
Gearing check (D / F) | 60%
Annual debt service (annuity) | 2903912.3795
Capex per kWp (USD) | 537.4046
Capex per kWac (USD) | 644.8855

## CashFlow
Line item | Unit | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
Timeline
Operating year |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Calendar year of COD anniversary |  | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
Energy
Module output factor | x |  | 0.99 | 0.986 | 0.982 | 0.978 | 0.974 | 0.97 | 0.966 | 0.962 | 0.958 | 0.954 | 0.95 | 0.946 | 0.942 | 0.938 | 0.934 | 0.93 | 0.926 | 0.922 | 0.918 | 0.914 | 0.91 | 0.906 | 0.902 | 0.898 | 0.894
PV energy available | MWh |  | 96773.9782 | 96382.9722 | 95991.9662 | 95600.9603 | 95209.9543 | 94818.9483 | 94427.9423 | 94036.9364 | 93645.9304 | 93254.9244 | 92863.9185 | 92472.9125 | 92081.9065 | 91690.9005 | 91299.8946 | 90908.8886 | 90517.8826 | 90126.8767 | 89735.8707 | 89344.8647 | 88953.8587 | 88562.8528 | 88171.8468 | 87780.8408 | 87389.8348
BESS capacity factor | x |  | 1 | 0.98 | 0.9604 | 0.94119 | 0.92237 | 0.90392 | 0.88584 | 0.86813 | 0.85076 | 0.83375 | 0.81707 | 1 | 0.98 | 0.9604 | 0.94119 | 0.92237 | 0.90392 | 0.88584 | 0.86813 | 0.85076 | 0.83375 | 0.81707 | 0.80073 | 0.78472 | 0.76902
Energy routed to BESS | MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS evening discharge | MWh |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daytime energy sold | MWh |  | 96773.9782 | 96382.9722 | 95991.9662 | 95600.9603 | 95209.9543 | 94818.9483 | 94427.9423 | 94036.9364 | 93645.9304 | 93254.9244 | 92863.9185 | 92472.9125 | 92081.9065 | 91690.9005 | 91299.8946 | 90908.8886 | 90517.8826 | 90126.8767 | 89735.8707 | 89344.8647 | 88953.8587 | 88562.8528 | 88171.8468 | 87780.8408 | 87389.8348
Total energy delivered | MWh |  | 96773.9782 | 96382.9722 | 95991.9662 | 95600.9603 | 95209.9543 | 94818.9483 | 94427.9423 | 94036.9364 | 93645.9304 | 93254.9244 | 92863.9185 | 92472.9125 | 92081.9065 | 91690.9005 | 91299.8946 | 90908.8886 | 90517.8826 | 90126.8767 | 89735.8707 | 89344.8647 | 88953.8587 | 88562.8528 | 88171.8468 | 87780.8408 | 87389.8348
Revenue
PPA indexation factor | x |  | 1 | 1.01 | 1.0201 | 1.0303 | 1.0406 | 1.051 | 1.0615 | 1.0721 | 1.0829 | 1.0937 | 1.1046 | 1.1157 | 1.1268 | 1.1381 | 1.1495 | 1.161 | 1.1726 | 1.1843 | 1.1961 | 1.2081 | 1.2202 | 1.2324 | 1.2447 | 1.2572 | 1.2697
Daytime tariff | USD/kWh |  | 0.1 | 0.101 | 0.10201 | 0.10303 | 0.10406 | 0.1051 | 0.10615 | 0.10721 | 0.10829 | 0.10937 | 0.11046 | 0.11157 | 0.11268 | 0.11381 | 0.11495 | 0.1161 | 0.11726 | 0.11843 | 0.11961 | 0.12081 | 0.12202 | 0.12324 | 0.12447 | 0.12572 | 0.12697
Evening tariff | USD/kWh |  | 0.16 | 0.1616 | 0.16322 | 0.16485 | 0.1665 | 0.16816 | 0.16984 | 0.17154 | 0.17326 | 0.17499 | 0.17674 | 0.17851 | 0.18029 | 0.18209 | 0.18392 | 0.18576 | 0.18761 | 0.18949 | 0.19138 | 0.1933 | 0.19523 | 0.19718 | 0.19915 | 0.20115 | 0.20316
Billed revenue | USD |  | 9677397.8184 | 9734680.1934 | 9792140.476 | 9849776.4964 | 9907586.023 | 9965566.7626 | 10023716.3583 | 10082032.3893 | 10140512.3693 | 10199153.7456 | 10257953.8983 | 10316910.1386 | 10376019.7083 | 10435279.7784 | 10494687.4479 | 10554239.7428 | 10613933.6149 | 10673765.9405 | 10733733.5192 | 10793833.0729 | 10854061.2443 | 10914414.5958 | 10974889.6083 | 11035482.6795 | 11096190.1232
Revenue after collection and FX loss | USD |  | 9105463.6073 | 9159360.5939 | 9213424.9739 | 9267654.7054 | 9322047.6891 | 9376601.7669 | 9431314.7216 | 9486184.2751 | 9541208.0883 | 9596383.7593 | 9651708.8229 | 9707180.7494 | 9762796.9435 | 9818554.7435 | 9874451.4197 | 9930484.174 | 9986650.1383 | 10042946.3734 | 10099369.8682 | 10155917.5383 | 10212586.2248 | 10269372.6932 | 10326273.6324 | 10383285.6531 | 10440405.2869
Operating costs
Opex escalation factor | x |  | 1 | 1.025 | 1.0506 | 1.0769 | 1.1038 | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087
O&M contract | USD |  | 540000 | 553500 | 567337.5 | 581520.9375 | 596058.9609 | 610960.435 | 626234.4458 | 641890.307 | 657937.5647 | 674386.0038 | 691245.6539 | 708526.7952 | 726239.9651 | 744395.9642 | 763005.8633 | 782081.0099 | 801633.0352 | 821673.861 | 842215.7076 | 863271.1003 | 884852.8778 | 906974.1997 | 929648.5547 | 952889.7686 | 976712.0128
Insurance | USD |  | 193465.656 | 198302.2974 | 203259.8548 | 208341.3512 | 213549.885 | 218888.6321 | 224360.8479 | 229969.8691 | 235719.1158 | 241612.0937 | 247652.3961 | 253843.706 | 260189.7986 | 266694.5436 | 273361.9072 | 280195.9549 | 287200.8537 | 294380.8751 | 301740.397 | 309283.9069 | 317016.0046 | 324941.4047 | 333064.9398 | 341391.5633 | 349926.3524
Political risk insurance | USD |  | 161360.8899 | 165394.9122 | 169529.785 | 173768.0296 | 178112.2304 | 182565.0361 | 187129.162 | 191807.3911 | 196602.5758 | 201517.6402 | 206555.5812 | 211719.4708 | 217012.4575 | 222437.769 | 227998.7132 | 233698.681 | 239541.1481 | 245529.6768 | 251667.9187 | 257959.6167 | 264408.6071 | 271018.8222 | 277794.2928 | 284739.1501 | 291857.6289
Security | USD |  | 250000 | 256250 | 262656.25 | 269222.6562 | 275953.2227 | 282852.0532 | 289923.3546 | 297171.4384 | 304600.7244 | 312215.7425 | 320021.136 | 328021.6645 | 336222.2061 | 344627.7612 | 353243.4552 | 362074.5416 | 371126.4052 | 380404.5653 | 389914.6794 | 399662.5464 | 409654.1101 | 419895.4628 | 430392.8494 | 441152.6706 | 452181.4874
Land lease | USD |  | 46800 | 47970 | 49169.25 | 50398.4812 | 51658.4433 | 52949.9044 | 54273.652 | 55630.4933 | 57021.2556 | 58446.787 | 59907.9567 | 61405.6556 | 62940.797 | 64514.3169 | 66127.1748 | 67780.3542 | 69474.863 | 71211.7346 | 72992.028 | 74816.8287 | 76687.2494 | 78604.4306 | 80569.5414 | 82583.7799 | 84648.3744
SPV administration, billing, metering | USD |  | 300000 | 307500 | 315187.5 | 323067.1875 | 331143.8672 | 339422.4639 | 347908.0255 | 356605.7261 | 365520.8693 | 374658.891 | 384025.3633 | 393625.9973 | 403466.6473 | 413553.3135 | 423892.1463 | 434489.4499 | 445351.6862 | 456485.4784 | 467897.6153 | 479595.0557 | 491584.9321 | 503874.5554 | 516471.4193 | 529383.2048 | 542617.7849
BESS O&M | USD |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Network use and metering charge | USD |  | 483869.8909 | 493962.7326 | 504257.7976 | 514758.8893 | 525469.8743 | 536394.6843 | 547537.3162 | 558901.8329 | 570492.3647 | 582313.1094 | 594368.3337 | 606662.3734 | 619199.6349 | 631984.5955 | 645021.8044 | 658315.8834 | 671871.5276 | 685693.5067 | 699786.665 | 714155.9228 | 728806.2767 | 743742.801 | 758970.6475 | 774495.0471 | 790321.3101
Total opex | USD |  | 1975496.4369 | 2022879.9422 | 2071397.9375 | 2121077.5326 | 2171946.4837 | 2224033.209 | 2277366.8039 | 2331977.0579 | 2387894.4703 | 2445150.2677 | 2503776.4208 | 2563805.6628 | 2625271.5065 | 2688208.2639 | 2752651.0645 | 2818635.8749 | 2886199.519 | 2955379.6978 | 3026215.0109 | 3098744.9773 | 3173010.0577 | 3249051.6765 | 3326912.2449 | 3406635.1844 | 3488264.9508
EBITDA | USD |  | 7129967.1705 | 7136480.6518 | 7142027.0364 | 7146577.1728 | 7150101.2053 | 7152568.5579 | 7153947.9176 | 7154207.2172 | 7153313.618 | 7151233.4916 | 7147932.402 | 7143375.0866 | 7137525.437 | 7130346.4795 | 7121800.3552 | 7111848.2991 | 7100450.6193 | 7087566.6756 | 7073154.8573 | 7057172.5609 | 7039576.1671 | 7020321.0168 | 6999361.3875 | 6976650.4687 | 6952140.3361
Replacement capex (inverters, BESS augmentation) | USD |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Senior debt
Opening balance | USD |  | 20170111.242 | 19204546.5529 | 18146191.0972 | 16986127.6821 | 15714582.1729 | 14320841.1403 | 12793161.5944 | 11118672.0442 | 9283264.0481 | 7271473.3437 | 5066349.5525 | 2649313.3651 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest | USD |  | 1938347.6904 | 1845556.9237 | 1743848.9644 | 1632366.8703 | 1510171.3468 | 1376232.8336 | 1229422.8292 | 1068504.3834 | 892121.675 | 698788.5883 | 486876.192 | 254599.0144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service (annuity) | USD |  | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 2903912.3795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal repayment | USD |  | 965564.6891 | 1058355.4557 | 1160063.415 | 1271545.5092 | 1393741.0326 | 1527679.5459 | 1674489.5502 | 1835407.996 | 2011790.7044 | 2205123.7911 | 2417036.1875 | 2649313.3651 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing balance | USD |  | 19204546.5529 | 18146191.0972 | 16986127.6821 | 15714582.1729 | 14320841.1403 | 12793161.5944 | 11118672.0442 | 9283264.0481 | 7271473.3437 | 5066349.5525 | 2649313.3651 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax
Depreciation (funding cost, straight line) | USD |  | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 1680842.6035 | 0 | 0 | 0 | 0 | 0
Taxable income before losses | USD |  | 3510776.8766 | 3610081.1245 | 3717335.4685 | 3833367.6991 | 3959087.255 | 4095493.1209 | 4243682.4849 | 4404860.2303 | 4580349.3395 | 4771602.2998 | 4980213.6065 | 5207933.4687 | 3956682.8335 | 5449503.876 | 5440957.7517 | 5431005.6956 | 5419608.0158 | 5406724.0721 | 5392312.2538 | 5376329.9574 | 7039576.1671 | 7020321.0168 | 6999361.3875 | 6976650.4687 | 6952140.3361
Tax losses brought forward | USD |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income after losses | USD |  | 3510776.8766 | 3610081.1245 | 3717335.4685 | 3833367.6991 | 3959087.255 | 4095493.1209 | 4243682.4849 | 4404860.2303 | 4580349.3395 | 4771602.2998 | 4980213.6065 | 5207933.4687 | 3956682.8335 | 5449503.876 | 5440957.7517 | 5431005.6956 | 5419608.0158 | 5406724.0721 | 5392312.2538 | 5376329.9574 | 7039576.1671 | 7020321.0168 | 6999361.3875 | 6976650.4687 | 6952140.3361
Tax losses carried forward | USD |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Effective tax rate | % |  | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
Income tax paid | USD |  | 87769.4219 | 90252.0281 | 92933.3867 | 95834.1925 | 98977.1814 | 102387.328 | 106092.0621 | 110121.5058 | 114508.7335 | 119290.0575 | 498021.3607 | 520793.3469 | 395668.2833 | 544950.3876 | 544095.7752 | 543100.5696 | 541960.8016 | 540672.4072 | 539231.2254 | 537632.9957 | 703957.6167 | 702032.1017 | 699936.1388 | 697665.0469 | 695214.0336
Working capital
Trade receivables (closing) | USD |  | 1496788.5382 | 1505648.3168 | 1514535.6121 | 1523450.0886 | 1532391.4009 | 1541359.1946 | 1550353.1049 | 1559372.7576 | 1568417.7679 | 1577487.7412 | 1586582.2723 | 1595700.9451 | 1604843.3332 | 1614008.9989 | 1623197.4937 | 1632408.3574 | 1641641.1186 | 1650895.2943 | 1660170.3893 | 1669465.8967 | 1678781.2972 | 1688116.0592 | 1697469.6382 | 1706841.4772 | 0
Increase in working capital | USD |  | 1496788.5382 | 8859.7786 | 8887.2953 | 8914.4764 | 8941.3124 | 8967.7936 | 8993.9104 | 9019.6526 | 9045.0104 | 9069.9733 | 9094.531 | 9118.6728 | 9142.3881 | 9165.6657 | 9188.4947 | 9210.8637 | 9232.7612 | 9254.1756 | 9275.095 | 9295.5074 | 9315.4005 | 9334.7619 | 9353.579 | 9371.839 | -1706841.4772
Cash flow waterfall
Cash flow available for debt service (CFADS) | USD |  | 5545409.2104 | 7037368.845 | 7040206.3544 | 7041828.504 | 7042182.7116 | 7041213.4363 | 7038861.9451 | 7035066.0588 | 7029759.8741 | 7022873.4608 | 6640816.5104 | 6613463.0669 | 5232714.7656 | 6576230.4262 | 6568516.0853 | 6559536.8658 | 6549257.0565 | 6537640.0927 | 6524648.5369 | 6510244.0578 | 6326303.1498 | 6308954.1531 | 6290071.6697 | 6269613.5828 | 7963767.7797
DSCR | x | 1 2028: 1.9096; 2 2029: 2.4234; 3 2030: 2.4244; 4 2031: 2.4249; 5 2032: 2.4251; 6 2033: 2.4247; 7 2034: 2.4239; 8 2035: 2.4226; 9 2036: 2.4208; 10 2037: 2.4184; 11 2038: 2.2869; 12 2039: 2.2774
Equity cash flow | USD | -13446740.828 | 2641496.8309 | 4133456.4656 | 4136293.9749 | 4137916.1245 | 4138270.3321 | 4137301.0568 | 4134949.5657 | 4131153.6794 | 4125847.4946 | 4118961.0813 | 3736904.1309 | 3709550.6874 | 5232714.7656 | 6576230.4262 | 6568516.0853 | 6559536.8658 | 6549257.0565 | 6537640.0927 | 6524648.5369 | 6510244.0578 | 6326303.1498 | 6308954.1531 | 6290071.6697 | 6269613.5828 | 7963767.7797
Depreciation, unlevered basis | USD |  | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 1612213.8 | 0 | 0 | 0 | 0 | 0
Unlevered tax | USD |  | 137943.8343 | 138106.6713 | 138245.3309 | 138359.0843 | 138447.1851 | 138508.8689 | 138543.3529 | 138549.8354 | 138527.4954 | 138475.4923 | 553571.8602 | 553116.1287 | 402531.1637 | 551813.268 | 550958.6555 | 549963.4499 | 548823.6819 | 547535.2876 | 546094.1057 | 544495.8761 | 703957.6167 | 702032.1017 | 699936.1388 | 697665.0469 | 695214.0336
Project (unlevered) free cash flow | USD | -32244276 | 5495234.798 | 6989514.2018 | 6994894.4102 | 6999303.6121 | 7002712.7078 | 7005091.8954 | 7006410.6543 | 7006637.7292 | 7005741.1121 | 7003688.026 | 6585266.0108 | 6581140.2851 | 5225851.8852 | 6569367.5458 | 6561653.205 | 6552673.9855 | 6542394.1761 | 6530777.2124 | 6517785.6565 | 6503381.1774 | 6326303.1498 | 6308954.1531 | 6290071.6697 | 6269613.5828 | 7963767.7797
Payback, discounting and LCOE helpers
Cumulative project cash flow | USD | -32244276 | -26749041.202 | -19759527.0001 | -12764632.59 | -5765328.9778 | 1237383.73 | 8242475.6253 | 15248886.2797 | 22255524.0088 | 29261265.121 | 36264953.147 | 42850219.1578 | 49431359.4429 | 54657211.3281 | 61226578.874 | 67788232.079 | 74340906.0644 | 80883300.2405 | 87414077.4529 | 93931863.1094 | 100435244.2869 | 106761547.4367 | 113070501.5899 | 119360573.2596 | 125630186.8424 | 133593954.6222
Project payback crossing | years | 0 | 0 | 0 | 0 | 0 | 4.8233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative equity cash flow | USD | -13446740.828 | -10805243.9971 | -6671787.5316 | -2535493.5566 | 1602422.5678 | 5740692.9 | 9877993.9568 | 14012943.5225 | 18144097.2018 | 22269944.6965 | 26388905.7778 | 30125809.9087 | 33835360.5962 | 39068075.3617 | 45644305.7879 | 52212821.8732 | 58772358.739 | 65321615.7955 | 71859255.8882 | 78383904.4251 | 84894148.4829 | 91220451.6327 | 97529405.7859 | 103819477.4556 | 110089091.0385 | 118052858.8182
Equity payback crossing | years | 0 | 0 | 0 | 0 | 3.6127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Discount factor at WACC | x | 1 | 0.86685 | 0.75143 | 0.65138 | 0.56465 | 0.48947 | 0.42429 | 0.3678 | 0.31883 | 0.27638 | 0.23958 | 0.20768 | 0.18003 | 0.15606 | 0.13528 | 0.11727 | 0.10165 | 0.088117 | 0.076384 | 0.066214 | 0.057397 | 0.049755 | 0.04313 | 0.037387 | 0.032409 | 0.028094
PV of opex and replacement capex | USD |  | 1712461.495 | 1520054.7714 | 1349264.9309 | 1197663.4644 | 1063094.6733 | 943645.024 | 837615.946 | 743499.6846 | 659957.8657 | 585802.4692 | 519978.9389 | 461551.1901 | 643771.6894 | 363652.6974 | 322789.6702 | 286518.0624 | 254322.0084 | 225743.599 | 200376.3699 | 177859.5232 | 157872.7961 | 140131.9081 | 124384.5177 | 110406.6348 | 97999.4355
PV of energy (kWh) | kWh |  | 83888640.9844 | 72425156.6989 | 62527142.3476 | 53980948.6069 | 46602066.8602 | 40231156.8018 | 34730615.2557 | 29981612.5116 | 25881532.5081 | 22341761.8614 | 19285780.2255 | 16647510.9367 | 14369896.4849 | 12403668.1817 | 10706283.5655 | 9241008.6889 | 7976125.5434 | 6884247.5687 | 5941728.5143 | 5128151.9293 | 4425890.2898 | 3819724.2693 | 3296513.9531 | 2844914.9128 | 2455133.0257
Discount factor at 8% | x |  | 0.92593 | 0.85734 | 0.79383 | 0.73503 | 0.68058 | 0.63017 | 0.58349 | 0.54027 | 0.50025 | 0.46319 | 0.42888 | 0.39711 | 0.3677 | 0.34046 | 0.31524 | 0.29189 | 0.27027 | 0.25025 | 0.23171 | 0.21455 | 0.19866 | 0.18394 | 0.17032 | 0.1577 | 0.14602
PV of costs at 8% | USD |  | 1829163.3675 | 1734293.5032 | 1644342.4667 | 1559055.3065 | 1478190.2817 | 1401518.1775 | 1328821.6566 | 1259894.6438 | 1194541.7424 | 1132577.6814 | 1073826.7905 | 1018122.5032 | 1516853.7717 | 915230.1849 | 867750.4147 | 822732.9434 | 780050.1177 | 739580.9001 | 701210.5263 | 664830.1801 | 630336.6851 | 597632.2127 | 566624.0048 | 537224.111 | 509349.1399
PV of energy at 8% (kWh) | kWh |  | 89605535.3555 | 82632863.6929 | 76201517.6794 | 70269559.7519 | 64798295.0829 | 59752021.2853 | 55097797.4051 | 50805230.7182 | 46846279.9608 | 43195073.7286 | 39827742.8781 | 36722265.8506 | 33858325.9252 | 31217179.482 | 28781534.4273 | 26535437.998 | 24464173.224 | 22554163.3794 | 20792883.8097 | 19168780.5637 | 17671195.3085 | 16290296.0414 | 15017013.1524 | 13842980.425 | 12760480.5947
PV of CFADS over loan life at cost of debt | USD |  | 5059218.329 | 5857468.4564 | 5346072.642 | 4878482.294 | 4450987.7604 | 4060190.7976 | 3702978.6077 | 3376500.029 | 3078143.7009 | 2805518.0411 | 2420301.8087 | 2199007.9505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Returns
Metric | Value | Unit / note
Cost of equity (CAPM + country risk premium) | 24.35% | 10-yr UST + beta x mature ERP + Syria CRP
WACC (post-tax, relief-period tax rate) | 15.36% | Project discount rate
Project NPV at WACC | 9926005.649 | USD
Project IRR | 20.43% | Unlevered, after tax
Equity NPV at cost of equity | 2800480.7586 | USD
Equity IRR | 28.83% | Levered, after tax
Project payback | 4.8233 | Years from COD (undiscounted)
Equity payback | 3.6127 | Years from COD (undiscounted)
LCOE at WACC | 0.078501 | USD/kWh, nominal levelised, pre-tax
LCOE at 8% (benchmark discount rate) | 0.058824 | USD/kWh
Minimum DSCR | 1.9096 | Over loan tenor
Average DSCR | 2.3569 | Over loan tenor
LLCR | 2.3418 | PV of CFADS over loan life / debt
Year-1 energy delivered | 96773.9782 | MWh
Year-1 revenue | 9105463.6073 | USD
Year-1 opex | 1975496.4369 | USD
Year-1 EBITDA | 7129967.1705 | USD
Lifetime energy delivered | 2302047.6629 | MWh
Specific yield year 1 | 1612.8996 | kWh/kWp delivered
Capacity factor year 1 (AC) | 22.09% | On 50 MWac

## Market
Comparator | USD/kWh | Basis
Grid tariff, industrial (official FX) | 0.13878 | Decision 687, 17 SYP/kWh / 122.5
Grid tariff, industrial (parallel FX) | 0.121 | 17 SYP/kWh / 140.5
Grid tariff, heavy industry (official FX) | 0.14694 | 18 SYP/kWh
Diesel self-generation, industrial diesel (official FX) | 0.37286 | 150 SYP/L x 0.28 L/kWh + non-fuel cost
Diesel self-generation, industrial diesel (parallel FX) | 0.32893
Diesel self-generation, standard diesel (official FX) | 0.43 | 175 SYP/L
Proposed PPA tariff, year 1 | 0.1
PPA discount to grid tariff (official FX) | 27.94% | share
PPA discount to diesel self-generation | 73.18% | share
Decision 154 feed-in tariff, solar | 0.04 | State purchase, 2-10 MW projects
Official / parallel FX gap | 12.81% | share
CO2 from diesel self-generation | 0.75516 | t CO2 per MWh
Blended cost for a factory operating 16 hours per day
Grid hours available | USD/kWh
0 | 0.37286
1 | 0.35823
2 | 0.3436
3 | 0.32897
4 | 0.31434
5 | 0.29971
6 | 0.28508
7 | 0.27045
8 | 0.25582
9 | 0.24119
10 | 0.22656
11 | 0.21193
12 | 0.1973
13 | 0.18267
14 | 0.16804
15 | 0.15341
16 | 0.13878

## Analysis
Static results exported from scripts/analysis.py (re-run the script to refresh). Not live formulas.
Scenario | Capex USD | Project NPV USD | Project IRR | Equity NPV USD | Equity IRR | Payback (yrs) | LCOE USD/kWh | Min DSCR | Definition
Base case | 32244276 | 9926005.649 | 20.43% | 2800480.7586 | 28.83% | 4.8233 | 0.078501 | 1.9096 | Assumptions as listed in Appendix A
Upside | 29664733.92 | 19177145.6361 | 25.75% | 8987272.2432 | 40.2% | 3.8924 | 0.068906 | 2.4085 | Yield +4%, capex -8%, no FX loss, collection 99%, opex -10%
Downside | 37080917.4 | -5770892.1365 | 12.64% | -7753802.0361 | 13.91% | 7.2856 | 0.097464 | 1.2277 | P90 yield (x0.928), capex +15%, FX loss 8%, collection 93%, opex +15%
Severe stress | 40305345 | -18996739.639 | 6.431% | -16777619.4662 | 2.533% | 10.6989 | 0.1122 | 0.80972 | P90 yield, capex +25%, FX loss 13%, collection 90%, opex +30%, debt 11.5%, no PPA indexation
Grid sale under Decision 154 | 32244276 | -20852381.4508 | 1.122% | -16740793.3435 | -3.764% | 20.3454 | 0.072695 | 0.56245 | All output sold to the state utility at 0.04 USD/kWh flat, no wheeling, full collection
PV + 20 MW / 80 MWh BESS | 45444276 | 819429.9979 | 15.67% | -4424021.2408 | 19.39% | 6.0838 | 0.10944 | 1.3683 | BESS charged from PV, evening energy at 0.16 USD/kWh
Tornado driver | NPV adverse | NPV favourable | Eq IRR adverse | Eq IRR favourable | Min DSCR adverse | Min DSCR favourable
PPA tariff (0.085 / 0.115 USD/kWh) | 1555123.352 | 18296887.946 | 20.34% | 37.54% | 1.5284 | 2.2909
Capex (+20% / -10%) | 3055830.0206 | 13361093.4632 | 21.29% | 33.99% | 1.5767 | 2.1316
FX conversion loss (13% / 0%) | 4172821.9397 | 11651960.7618 | 22.96% | 30.62% | 1.6476 | 1.9882
Opex (+30% / -20%) | 5781301.078 | 12689142.0297 | 24.69% | 31.6% | 1.7106 | 2.0423
Energy yield (P90 / +5%) | 6172110.9035 | 12550437.8536 | 24.98% | 31.55% | 1.7395 | 2.0286
Collection rate (90% / 99%) | 5898777.0525 | 11076642.3909 | 24.71% | 30.02% | 1.7262 | 1.962
Interest rate (11.5% / 8.5%) | 7318448.3403 | 11603918.6166 | 26.9% | 29.96% | 1.7358 | 2.0243
Availability (95% / 99.5%) | 8060926.9249 | 10458885.2844 | 26.92% | 29.39% | 1.8251 | 1.9338
Income tax rate (15% / 0%) | 9377230.8804 | 10999463.8946 | 28.41% | 29.67% | 1.8945 | 1.9399
Annual degradation (0.7% / 0.3%) | 8963373.8172 | 10246882.9262 | 28.24% | 29.03% | 1.9096 | 1.9096
Monte Carlo (10,000 runs) | Unmitigated | With mitigants
Project NPV P10 | -3486159.3829 | 3657763.0804
Project NPV P50 | 2634636.54 | 8350414.7642
Project NPV P90 | 8902670.3003 | 13134246.3999
Probability NPV < 0 | 29.94% | 1.29%
Equity IRR P10 | 15.68% | 22.51%
Equity IRR P50 | 21.33% | 27.2%
Equity IRR P90 | 27.75% | 32.13%
Probability equity IRR < cost of equity | 72.49% | 22.23%
Min DSCR P5 | 1.2518 | 1.5594
Probability min DSCR < 1.30 | 8.42% | 0.05%
Probability min DSCR < 1.15 | 1.37% | 0%
Breakeven | Value
PPA tariff for project NPV = 0 | 0.082213
PPA tariff for equity IRR = cost of equity | 0.092138
PPA tariff for minimum DSCR = 1.30 | 0.076015
Capex multiplier for project NPV = 0 | 1.289
FX conversion loss for project NPV = 0 | 20.25%
BESS evening tariff for zero incremental NPV | 0.2227

## Checks
Check | Excel value | Expected / Python | Difference | Pass
Sources equal uses: debt + equity - funding | 0 | 0 | 0 | PASS
Capex lines sum to PV capex | 0 | 0 | 0 | PASS
Debt fully repaid at end of tenor | 0 | 0 | 0 | PASS
Sum of principal equals debt | 0 | 0 | 0 | PASS
Equity cash flow = CFADS - debt service (all years) | 0 | 0 | 0 | PASS
Project NPV at project IRR equals zero | 0 | 0 | 0 | PASS
Equity NPV at equity IRR equals zero | 0 | 0 | 0 | PASS
Working capital released by final year | 0 | 0 | 0 | PASS
No negative tax paid | 87769.4219 | 0 | 87769.4219 | PASS
No negative energy | 87389.8348 | 0 | 87389.8348 | PASS
Gearing equals input | 0 | 0 | 0 | PASS
Minimum DSCR above lock-up covenant | 0.75963 | 0 | 0.75963 | PASS
Python: total capex | 32244276 | 32244276 | 0% | PASS
Python: senior debt | 20170111.242 | 20170111.242 | 0% | PASS
Python: year-1 energy (MWh) | 96773.9782 | 96773.9782 | 0% | PASS
Python: year-1 revenue | 9105463.6073 | 9105463.6073 | 0% | PASS
Python: year-1 EBITDA | 7129967.1705 | 7129967.1705 | 0% | PASS
Python: project NPV | 9926005.649 | 9926005.649 | 0% | PASS
Python: project IRR | 0.20432 | 0.20432 | -1.932e-12% | PASS
Python: equity NPV | 2800480.7586 | 2800480.7586 | 0% | PASS
Python: equity IRR | 0.28835 | 0.28835 | -1.832e-12% | PASS
Python: project payback | 4.8233 | 4.8233 | 0% | PASS
Python: equity payback | 3.6127 | 3.6127 | 0% | PASS
Python: LCOE at WACC | 0.078501 | 0.078501 | 0% | PASS
Python: minimum DSCR | 1.9096 | 1.9096 | 0% | PASS
Python: average DSCR | 2.3569 | 2.3569 | 0% | PASS
Python: LLCR | 2.3418 | 2.3418 | 0% | PASS
Python: WACC | 0.1536 | 0.1536 | 0% | PASS
Overall result |  |  |  | ALL PASS
Python checks compare against data/results.json for the base case (bess_on = 0, multipliers = 1).

## Sources
ID | Title | Publisher | Date | URL | Used for
S01 | PVGIS 5.3 PVcalc: fixed mounting, optimal tilt, 36.27N 37.30E (SARAH3 2005-2023) | European Commission Joint Research Centre | 2026-10-14 (retrieved) | https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=36.27&lon=37.30&peakpower=1&loss=14&optimalangles=1&outputformat=json | Specific yield 1,654.5 kWh/kWp; monthly yield; losses; tracker comparison
S02 | PVGIS 5.3 seriescalc hourly PV output 2019-2023, 31 deg tilt | European Commission Joint Research Centre | 2026-10-14 (retrieved) | https://re.jrc.ec.europa.eu/api/v5_3/seriescalc?lat=36.27&lon=37.30&peakpower=1&loss=14&angle=31&aspect=1&startyear=2019&endyear=2023&pvcalculation=1&outputformat=csv | Hourly profiles, clipping loss, BESS dispatch simulation
S03 | NASA POWER climatology API v2.10.1 (Jan 2001 - Dec 2025), ALLSKY_SFC_SW_DWN and T2M | NASA Langley Research Center | 2026-10-14 (retrieved) | https://power.larc.nasa.gov/api/temporal/climatology/point?parameters=ALLSKY_SFC_SW_DWN,T2M&community=RE&longitude=37.30&latitude=36.27&format=JSON | Irradiance and temperature cross-check
S04 | Global Solar Atlas long-term averages (Solargis model v2.2.68, data updated 2026-04-01) | World Bank Group / ESMAP / Solargis | 2026-10-14 (retrieved) | https://api.globalsolaratlas.info/data/lta?loc=36.27,37.30 | GHI, GTI, PVOUT cross-check
S05 | PV spot price: module, cell, wafer and polysilicon prices (week of 30 Sep 2026) | InfoLink Consulting | 2026-09-30 | https://infolink-group.com/spot-price/ | TOPCon module price 0.114 USD/W (non-China markets)
S06 | Renewable Power Generation Costs in 2025 (reported by PV Tech, 2 Jul 2026) | IRENA; PV Tech | 2026-07-02 | https://www.pv-tech.org/solar-pv-lcoe-ticks-marginally-upwards-2025-irena/ | Global utility PV installed cost 667 USD/kW and LCOE 44 USD/MWh (2025)
S07 | Battery storage system prices continue to fall sharply, BNEF and Ember reports find | Energy-Storage.News (BNEF ESS Cost Survey 2025; Ember) | 2025-12-16 | https://www.energy-storage.news/battery-storage-system-prices-continue-to-fall-sharply-bnef-and-ember-reports-find/ | Turnkey BESS 117 USD/kWh (BNEF); 125 USD/kWh all-in ex China/US (Ember, Oct 2025)
S08 | PowerChina wraps up record 102 GW solar equipment procurement tender | pv magazine | 2024-12-13 | https://www.pv-magazine.com/2024/12/13/powerchina-wraps-up-record-102-gw-solar-equipment-procurement-tender/ | String inverter bids 0.012-0.025 USD/W (China)
S09 | Limited Warranty, linear bifacial module (Rev. EN 2025-09-19) | JinkoSolar | 2025-09-19 | https://www.jinkosolar.com/uploads/LIMITED%20WARRANTY%20REV.EN20250919-LINEAR-BIFACIAL%20MODULE.pdf | Degradation: 1.0% year 1, 0.4%/yr thereafter
S10 | Annual Technology Baseline 2024: Utility-Scale PV | National Renewable Energy Laboratory (NREL) | 2024 | https://atb.nrel.gov/electricity/2024/utility-scale_pv | Fixed O&M benchmark 22 USD/kWac-yr
S11 | Ministry of Energy Decisions 686 and 687 on electricity tariffs (effective 1 Nov 2025); Enab Baladi coverage | Ministry of Energy via Syrian Memory archive; Al-Fedaa; Enab Baladi | 2025-10-30 | https://syrianmemory.org/archive/documents/6949bb0ffc0b99dfa82ef97a | Industrial tariff 1,700 old SYP/kWh; heavy industry 1,800; prior 1,500
S12 | Syria temporarily raises fuel prices amid rising global costs, supply squeeze | SANA | 2026-09-13 | https://sana.sy/en/economic/2342343/ | Diesel 175 SYP/L; reference rate 122 SYP/USD
S13 | Syria to offer lower-priced diesel to ease fuel costs (Energy Minister press conference); Reuters report of same date | Arab News Japan / SANA; Reuters | 2026-09-17 | https://www.reuters.com/business/energy/syria-offers-cheaper-diesel-after-fuel-price-protests-2026-09-17/ | Diesel grades 115 / 150 / 175 SYP/L; actual cost 206 SYP/L
S14 | Syria diesel prices, 05-Oct-2026 | GlobalPetrolPrices.com | 2026-10-05 | https://www.globalpetrolprices.com/Syria/diesel_prices/ | Diesel 175 SYP/L = 1.496 USD/L (cross-check)
S15 | Syrian pound exchange rates on 13 October 2026 | LiraScope | 2026-10-13 | https://lirascope.syria-cloud.sy/en/rates/archive/2026-10-13 | Official 122.5 and parallel 140.5 SYP/USD
S16 | Grids are back but generators remain: private electricity bills in Aleppo (Enab Baladi reporting); Sookeh News on Aleppo supply cuts | Horrya Press; Sookeh News | 2026-09 | https://horrya.net/archives/163653 | Aleppo supply about 16 h/day late Aug 2026, falling to about 3 h at night after 16 Sep 2026 faults
S17 | Syrian Electricity Company: temporary increase in power rationing hours after four generation units go offline | Welat TV | 2026-09-18 | https://welattv.net/en/node/31675 | National rationing; Decree 45/2026 creating Syrian Electricity Company
S18 | Syria Power Sector Guide 2026 | Norton Rose Fulbright | 2026-06 | https://www.nortonrosefulbright.com/en-gb/knowledge/publications/9a5a8e97/syria-power-sector-guide-2026 | Electricity Law 32/2010; Laws 32/2021 and 41/2022; PPP Law 5/2016; Investment Law 2025; sanctions; ESIA order 225/2008
S19 | Towards a transformative reconstruction of the electricity sector in Syria (Discussion Paper 6/2026) | German Institute of Development and Sustainability (IDOS) | 2026 | https://www.idos-research.de/fileadmin/user_upload/pdfs/publikationen/discussion_paper/2026/DP_6.2026.pdf | Production cost 0.12-0.18 USD/kWh; Decision 154 vs Law 41/2022; off-grid PV > 2,200 MW; NW Syria tariffs
S20 | Syria fast-tracks small renewables, greenlights two new 100-MW solar projects | list.solar | 2025-07-14 | https://list.solar/news/syria-fast-tracks/ | Decision 154 (3 Jul 2025): 2-10 MW, 20-yr licence, 0.04 / 0.06 USD/kWh, paid in SYP at official rate
S21 | The Ministry of Energy signs the final concession agreements to build and operate eight power plants (5,000 MW) | UCC Holding; MEED | 2025-11-06 | https://www.uccholding.com/media/read/the-ministry-of-energy-signs-the-final-concession | 1,000 MW solar including 300 MW in Aleppo
S22 | Syria signs $7 billion power deal with Qatar's UCC Holding-led consortium | Reuters | 2025-05-29 | https://www.reuters.com/business/energy/syria-signs-7-billion-power-deal-with-qatars-ucc-holding-led-consortium-2025-05-29/ | MoU context
S23 | Saudi company to build 760 MW of solar, 1,077 MWh of BESS in Syria | pv magazine | 2026-08-07 | https://www.pv-magazine.com/2026/08/07/saudi-company-to-build-760-mw-of-solar-1077-mwh-of-bess-in-syria/ | Recent solar-plus-storage deal
S24 | Syria: World Bank US$146 million grant to improve electricity supply | World Bank | 2025-06-25 | https://www.worldbank.org/en/news/press-release/2025/06/25/syria-world-bank-us-146-million-grant-to-improve-electricity-supply-and-support-sector-development | Syria Electricity Emergency Project (transmission rehabilitation)
S25 | Energy Sector Investment in Syria (Investment Law 18/2021, Decree 114/2025, sanctions timeline) | Al Arabia Law | 2026 (accessed 2026-10-14) | https://www.al-arabia-law.com/en/invest-in-syria/energy-sector/ | Tax relief 50-75% for 10 years; customs exemption; Caesar Act repeal 18 Dec 2025; SWIFT reconnection 20 Nov 2025
S26 | Turning the Tax System on Its Head: Assessing Syria's New Fiscal Reform (Syria in Figures, Issue 12) | Karam Shaar Advisory | 2025-09 | https://karamshaar.com/syria-in-figures/syria-tax-reform-2025/ | Draft corporate income tax 10% priority sectors / 15% others
S27 | Country Default Spreads and Risk Premiums (last updated 5 Jan 2026) | Aswath Damodaran, NYU Stern | 2026-01-05 | https://pages.stern.nyu.edu/~adamodar/New_Home_Page/datafile/ctryprem.html | Syria CRP 15.54%; mature ERP 4.23%
S28 | Daily Treasury Par Yield Curve Rates, 13 Oct 2026 | US Department of the Treasury | 2026-10-13 | https://home.treasury.gov/resource-center/data-chart-center/interest-rates/daily-treasury-rates.csv/2026/all?type=daily_treasury_yield_curve | 7-yr 5.11%, 10-yr 5.21%
S29 | Secured Overnight Financing Rate data | Federal Reserve Bank of New York | 2026-10-09 | https://markets.newyorkfed.org/api/rates/secured/sofr/last/3.json | SOFR 3.87%
S30 | mtu 20V4000 DS4000 generator set technical data (50 Hz) | Rolls-Royce Power Systems (mtu) | n.d. (accessed 2026-10-14) | https://www.mtu-solutions.com/content/dam/mtu/products/power-generation/powergeneration-product-list-latest/32310781_PG_spec_20V4000DS4000_4000kVA_3D_FC_50Hz.pdf | Fuel consumption 202 g/kWh at full load
S31 | GHG Emission Factors Hub 2025 | US Environmental Protection Agency | 2025-01 | https://www.epa.gov/system/files/documents/2025-01/ghg-emission-factors-hub-2025.pdf | Diesel 10.21 kg CO2 per gallon
S32 | Prime Minister lays foundation stone of Sheikh Najjar photovoltaic power station; Ministry of Electricity project page | SANA; Ministry of Electricity | 2021-04-10 | https://archive.sana.sy/en/?p=229364 | 33 MW, EUR 36 million, 52 GWh/yr, 350,000 m2, 86,840 modules
S33 | Aleppo solar farm (Sheikh Najjar) | Global Energy Monitor wiki | 2026-09-24 (page modified) | https://www.gem.wiki/Aleppo_solar_farm | Phase 1 42 MW operating (2021); phase 2 58 MW under construction; coordinates
S34 | Sheikh Najjar: 1,553 factories back to life and 80,000 jobs (Syria 24 interview with the City Director) | Syria 24 via Yalla Syria News | 2026-07-10 | https://yallasyrianews.com/a/130262 | 1,553 producing facilities, 704 under construction, 350 in rehabilitation
S35 | Aleppo's factories return slowly: why are they not running at full capacity? | Noon Post | 2026-05-25 | https://www.noonpost.com/374964/ | 1,506 operating facilities end-2025; about 550 at full and 200 at partial capacity; electricity shortage
S36 | The industrial city of Sheikh Najjar: from the effects of war to the heart of production | Industry News (industrynews.sy), citing Al-Hurriya | 2026 (undated; refers to 2026 plan) | https://industrynews.sy/?p=66768 | 4,412 ha; 6,048 plots; 546 new factories in 2025; 35 infrastructure projects in 2026
S37 | Sheikh Najjar industrial city supplied with electricity 24 hours; additional substations | Business2Business Syria | 2023-01-10 | https://b2b-sy.com/syria/cat-10/1033360938/ | New 60 MW and 30 MW substations; 835 facilities in 2023
S38 | Production wheel currently turning in 960 facilities at Sheikh Najjar Industrial City | SANA | 2025-03-03 | https://archive.sana.sy/en/?p=348547 | 960 facilities; electrical network described as dilapidated
S39 | Tender: photovoltaic project over and around ground water tanks in the Industrial City of Aleppo | GlobalTenders | 2026-07-09 | https://www.globaltenders.com/tender-detail/investing-in-the-empty-spaces-available-abov-g0epODVFgBxjkO5G | Evidence of in-zone PV procurement
S40 | Establishing renewable energy companies in Syria 2026 | Gars Legal (law firm commentary) | 2026-09-28 | https://garslegal.com/renewable-energy-company-formation-syria/ | Direct B2B sales in industrial cities; licensing steps (commentary, to be confirmed by counsel)